- REAL POWER-SYSTEM ECONOMIC DISPATCH USING A VARIABLE WEIGHTS LINEAR PROGRAMMING METHOD

- M. Rahli	L. Benasla	A. Belmadani	L. Abdelhakem-Koridak

Electrical department, USTO-MB, BP 1505, Oran El M’naouer, Algeria

- Abstract

This paper presents an efficient method to solve an economic load dispatch problem with load flow type network security constraints, as the active generation limits and the line active power flows limits. The new form of linear programming method is proposed, it is a variable weights linear programming method. The nonlinear dispatch problem is transformed to a linear one by the method of variable weights linear programming. To achieve a good linear representation the nonlinear cost functions between the active generation limits are approximated by a sum of products of cost values multiplied by the variable weights. The nonlinear equality network constraint containing the losses expressed by the specially formulated and calculated function of generated powers is transformed to linear one, the same manner as above. The set of nonlinear inequality constraints on line active power flows is linearly expressed in terms of the active bus generation powers with the upper limits on the active power flow to each to violating lines. The dispatch problem transformed this manner is to solve with or without solving the load flow problem and as follows the proposed method is practical for real-time control dispatch.

Keywords: power system, economic dispatching, linear programming.

- Introduction

The determination of optimum generator loadings to meet both a given demand and certain security requirements as well as to give the minimum at the function cost constitute the basic of any power-scheduling study. Mathematically it is a complex non linear-dynamic optimisation problem and at present, the solution is not attempted in rigorous for ever any scheduling period of interest. The usual method of solution adopted is to treat the dynamic problem as a series of static optimisation problem at a number of points in time during the interval considered. Even with this simplification the static problem remains the nonlinear of great size one, and because that, the application of the methods of nonlinear mathematical programming require too much time for solution. On line economic dispatch on the other hand requires solutions procedures witch produce secure loading witch are reliable in the sense that correct answer can be given for the problem posed and witch can be solved by small on line computers about every 2-3 minutes or every 1% change of system load. To meet these practical requirements certain simplifications must be made. On the whole linearization methods are used and the linear programming method used in two manners one when solution of load flow problem is not necessary to obtain the optimal values of economic dispatch with security constraints, two when this load flow problem solution is needed.

- Mathematical model

The economic load scheduling problem is one of minimizing a certain cost functions subject to a number of constraints. This power dispatch problem [1,2], is stated in  this paper as follows:

mini=1nGCi(PGi)			(1)

PGimin   PGi  PGimax			(2)

Pij  PijM				(3)

 PGi  =  PD + PL			(4)

where generally Ci ( PGi  ) is quadratic curve:

Ci (PGi) = ai + bi PGi + ci PGi 2		(5)

Where ai, bi and ci are the known coefficients.

Obviously the constraint (2) is so called limits of generation, the constraint (3) the line power flow limit, and the constraint (4) reflects active power balance. This problem will be solved in the paper by the variable weights linear programming method. They will be considered the types of solutions, the first one with the use of load flow calculation is not necessary.

- Objective

Following the variable weight linear programming method [1], the cost function (1) can be transformed in to following one:

i=1nGs=1kiCi( PGi,s).xi,s			(6)

s=1kixi,s=1	i  = 1,....,nG		(7)

xi,s  0		s = 1,.....,ki		(8)

Following this notation the value of active generation PGi  is to obtain by:

PGi=s=1kiPGi,s.xi,s			(9)

and the load balance equality constraint is transformed as follows:

i=1nG PGi,s.xi,s =  PD  + PL  		              (9’)

- Generation constraints

The generation outputs are limited by the generation characteristics and should be in the region expressed by (2). In the variable coefficient programming method the constraint (2) has the following form:

PGim≤s=1kiPGi,s.xi,s≤PGiM	                (10)

- Line power constraints

To take account of the constraints (3) in the optimisation problem it is necessary to express the line power flow as a function of generation powers. The bus active injection powers Pp [1, 2, 3, 4, 5] are given by the following formula:

Pp=q=1nep(eq.Gpq+fq.Bpq)+fp(fq.Gpq−eq.Bpq)				             (11)

And the line active power is done by the formula:

Pij=(ei2−eiej+fi2−fifj)Gij+(ejfi−eifj)Bij				             (12)

It is supposed to express (12) as a function of bus power injection at generation bus in following manner:

DPij=k=1nG¶Pij¶PkDPk		            (13)

where:

¶Pij¶Pk=¶Pij¶ek¶Pk¶ek-1+ ¶Pij¶fk¶Pk¶fk-1     (14)

In many practical investigation the practical derivative

¶Pij¶fk¶PkPij¶fk-1is neglected so

¶Pij¶Pk=¶Pij¶ek¶Pk¶ek-1			(15)

The practical derivative in (14) or ways (15) are easily to calculate, what even for each Pij there are no more then four derivatives ¶Pij¶ek and ¶Pij¶fk together.

These derivatives are to calculate by several but if the Newton-Raphson load flow method is used the derivatives¶Pk¶ek, ¶Pk¶fk are the same as these in Jacobean matrix. When the angular coordinate are used, an another formula is to express:

¶Pij¶Pk=k=1nG¶Pij¶dk¶Pk¶dk-1+ ¶Pij¶  Ek¶Pk¶  Ek-1				            (16)

The bus injection power is expressed by:

- Pp = PGp - PDp

Where PDp during the each investigation is fixed. It follows from it that the formula (13) takes the changed form:

k=1nG¶Pij¶PGkDPGk≤PijM		           (17)

In the manner of this paper it is possible to state as follows. Let a line connecting buses i and j which cannot be overload. Thus the active line flow Pij must be restricted as follows:

k=1nG¶Pij¶PGks=1kiPGk,s.xk,s≤PijM	            (18)

This method can be used without the calculation of load flow problem. With the notation of the paper it is to express:

p=1n GB( i j ) ps=1k iPG p , s.xp , s≤Pi jM	             (19)

They are here the generation bus p and the violating line with its initial and terminal nodes i and j respectively. The B(ij)p are the coefficients of the Pij function.

- The power balance equation and transmission losses

The power balance equation is given by the formula (4). In order to take account of the transmission losses we assume that the transmission loss is function of the power generation [8]. The formula of the transmission losses is called B-matrix and it is expressed as follow:

i¹jnG.Bij©.PGj				             (20)

One of the methods to determine the coefficients K'L0, B'i0, B'ii and B'ij is so called least squares or weighted squares [6]. In this paper this method is investigated with application to 14 bus A.E.P / I.E.E.E system [7]. Particularly it was assumed the following formula by neglected the fourth term in the formula (20):

PL=KL0+i=1nGBi0.PGi+i=1nGBii.PGi2	            (21)

So the constraint (4) is to express in the new variables in the following manner:

i=1nG(1−Bi0)s=1kiPGi,s.xi,s−i=1nGBiis=1kiPGi,s.xi,s=PD+KL0				             (22)

This form of B-matrix can be applied with out solving of load flow and allow the minimization of the transmission losses.

- Digital simulation results

The 14 bus A.E.P/I.E.E.E system [7] was used to test the method described above

Table 1

| k-m | line impedance | line charging admittance |
| --- | --- | --- |
| 1-2 | 0.01938+j0.05917 | j0.0264 |
| 1-5 | 0.05403+j0.22304 | j0.0246 |
| 2- 3 | 0.04699+j0.19797 | j0.0219 |
| 2-4 | 0.05811+j0.17632 | j0.0187 |
| 2-5 | 0.05695+j0.17388 | j0. 0170 |
| 3-4 | 0.06701+j0.17103 | j0.0173 |
| 4-5 | 0.01335+j0.04211 | j0.0064 |
| 4-7 | 0.00000+j0.02091 | j0.0000 |
| 4-9 | 0.00000+j0.55618 | j0.0000 |
| 5-6 | 0.00000+j0.25202 | j0.0000 |
| 6-11 | 0.09498+j0.19890 | j0.0000 |
| 6-12 | 0.12291+j0.25581 | j0.0000 |
| 6-13 | 0.06615+j0.13027 | j0.0000 |
| 7-8 | 0.00000+j0.17615 | j0.0000 |
| 7-9 | 0.00000+j0.11001 | j0.0000 |
| 9-10 | 0.03181+j0.08450 | j0.0000 |
| 9-14 | 0.12711+j0.27038 | j0.0000 |
| 10-11 | 0.08205+j0.19207 | j0.0000 |
| 12-13 | 0.22092+j0.19988 | j0.0000 |
| 13-14 | 0.17093+j0.34802 | j0.0000 |

Table 2

| Nº | bus type | real power | reactive power | bus voltage scheduled |
| --- | --- | --- | --- | --- |
| 1 | slack bus | 0.000 | 0.000 | 1.06 + j 0.00 |
| 2 | generation bus | 0.183 | -0.127 | 1.00 + j 0.00 |
| 3 | load bus | -0.942 | -0.190 | 1.00 + j 0.00 |
| 4 | " | -0.478 | 0.039 | 1.00 + j 0.00 |
| 5 | " | -0.076 | -0.016 | 1.00 + j 0.00 |
| 6 | " | -0.112 | -0.075 | 1.00 + j 0.00 |
| 7 | " | 0.000 | 0.000 | 1.00 + j 0.00 |
| 8 | " | 0.000 | 0.000 | 1.00 + j 0.00 |
| 9 | " | -0.295 | -0.166 | 1.00 + j 0.00 |
| 10 | " | -0.090 | -0.058 | 1.00 + j 0.00 |
| 11 | " | -0.035 | -0.018 | 1.00 + j 0.00 |
| 12 | " | -0.061 | -0.016 | 1.00 + j 0.00 |
| 13 | " | -0.135 | -0.058 | 1.00 + j 0.00 |
| 14 | " | -0.149 | -0.050 | 1.00 + j 0.00 |

The following problem was solved:

min  C1(PG1)+C2(PG2)

under the following constraints:

135  P G1  195	(MW)

70  P G2  145	(MW)

PD = 259 	(MW)

P12   120 	(MW)

P24     75	(MW)

- PG1 + PG2 = 259 + PL

where:

- C1 (PG1) = 120 + 1.9 PG1 + 0.008 PG12

- C2 (PG2) = 130 + 2.1 PG2 + 0.009 PG22

1- The test of two formulas (20), (21) of B-matrix method was made. The results which were obtained are presented in the table n°3. It follows from these investigations that the approximation proposed in this paper (21) is not much loss than that (20). The accuracy of approximation is quite acceptable. It is to compare these results with them of article [7]. They are quite similar. It is necessary to correct the values of the B-matrix from time to time or when load changes very much. This is the method to use without need to calculate the load flow each iteration.

-A.E.P 14 test system B-matrix model:

- PL = KL0 + B10 PG1+B20 PG2+B11 PG12+B22 PG22

- KL0 = - 76,16605

- B10 = 0,33079

B20= 1.1944

B11 = - 0.0011

B22 = - 0,00544

-A.E.P 14 test system B'- matrix model:

PL=K'L0+B'10 PG1+B'20 PG2+B'11 PG12+B'22 PG22+ 2B'12 PG1 PG2

- K'L0 = -106,2569

- B'10 = 0,5388

B'20 = 1,4572

B'11 = -0,00084

B'22 = -0,0049

2B'12 = -0,00256

Table 3

| B-Matrix method |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| PG1 (MW) | PG2 (MW) | PL (MW) G-S | PL1 (MW) m = 6 | PL2 (MW) m = 5 | cost ($ / h) | time (s) |
| 145.0 | 127.0 | 13.23 | 13.00 | 12.78 | 985.51 | 0 |
| 150.0 | 123.0 | 13.37 | 13.25 | 13.21 | 984.46 | 0 |
| 155.0 | 118.0 | 13.55 | 13.70 | 13.78 | 979.76 | 0 |
| 157.0 | 116.0 | 13.63 | 13.83 | 13.91 | 978.09 | 0 |
| 158.5 | 114.5 | 13.68 | 13.92 | 13.98 | 976.92 | 0 |
| 159.5 | 113.5 | 13.72 | 13.96 | 14.01 | 976.18 | 0 |
| 161.0 | 112.0 | 13.78 | 14.02 | 14.02 | 975.12 | 0 |
| 162.5 | 110.5 | 13.84 | 14.07 | 14.01 | 974.12 | 0 |
| 164.0 | 109.0 | 13.89 | 14.10 | 13.97 | 973.20 | 0 |
| 165.0 | 108.0 | 13.94 | 14.12 | 13.93 | 972.62 | 0 |
| 166.0 | 107.0 | 13.98 | 14.12 | 13.87 | 972.77 | 0 |
| 168.0 | 105.0 | 14.06 | 14.12 | 13.72 | 971.06 | 0 |
| 170.0 | 103.5 | 14.12 | 14.09 | 13.55 | 972.16 | 0 |
| 175.0 | 100.0 | 14.27 | 13.97 | 13.00 | 976.25 | 0 |
| 180.0 | 95.00 | 14.49 | 13.70 | 12.04 | 975.12 | 0 |

2. The results of experiments made with  load flow  calculations. Using Gauss-Seidel method [2] for calculation of the transmission losses, we find:

- PL = 14.72 MW

2.1 -The task mentioned above was solved by (6), (7), (10), (19) and the following results obtained:

PG1 = 153.72 MW; PG2 = 120 MW; Cost = 955.54 $ / hr; Time = 0.22 s

2.2- The same task was solved with the same conditions by another method so called the linearization method around the selected point and the results are:

PG1 = 160 MW; PG2 = 123.72 MW;

Cost = 961.08 $ / hr;

Time = 0.05 s

The results of experiments made without load flow calculations by (6), (7), (10), (19), (22) are:

- PG1 = 175 MW; PG2 = 93.065 MW;

Cost = 942.06 $ / hr;

PL = 9.07 MW; Time = 0.21 s

- Conclusion

The variable weights linear programming method was applied to security economic dispatch problem for the first time. The two main approaches are to emphasize. The first where the solution of load flow is not needed each time we determine the optimal dispatch. The second approach needs the solution of load flow during the determining of optimal dispatch. The first approach is very faster but with the smaller accuracy that the second one and minimize the transmission losses (from 14.72 MW to 9.07 MW). The modified formula of transmission losses was proposed and tested with 14 bus A.E.P model. It is the similar accuracy than that commonly used. The weights linear programming method can be utilised for solving the nonlinear and linear dispatch problem. During the transformation of the nonlinear problem to linear one, this method does not need the determining of derivatives and this is its great advantage.

- Nomenclature

- Ci (PGi): cost function of ith generator

PD: total active load of network

PL: active power losses

PGi: active generation power of the ith generator

PGim, PGiM: minimum and maximum limit values respectively of PGi

Pij: active line flow  power

PijM: maximum limit value of Pij

Pp: active bus injection power

Qp: reactive bus injection power

ei: active part of bus voltage

fi: reactive part of bus voltage

Bij: bus matrix suceptance

Gij: bus matrix conductance

n: number of bus

nG: number of generation

Pij: Pij (scheduled) - Pij (actual)

Pk: Pk (scheduled) - Pk (actual)

- References

1-Mostefa Rahli: " Répartition Optimale des Puissances Actives par la Programmation Linéaire "  These de Magister, U.S.T.O, Oran, Algeria, July 1985.

2- G.W. Stagg, A.H. El Abiad: " Computer Methods in Power System Analysis "

Mc Graw Hill Int, Book Company Japan, 1983.

3- K.R.C. Mamandur, G.J. Berg: " Economic Shift in Electric Power Generation with Line Flow Constraints "I.E.E.E Trans on P.A.S, Vol PAS-97, n° 5, Sep-Oct 1978.

4- S.C. Tripathy: " Real Time Monitoring of Power System Using Fast Decoupled Load Flow " Proc I.E.E, Vol 124, n° 7, July 1977.

5- Li Wenywan: " An On Line Economic Power System Dispatch Method with Security Electric Power System Research "

I.E.E.E Trans on P.A.S, n° 9, 1985, 173-181.

6- M.E. Hawary, S.Y. Mansour: "Performance Evaluation of Parameter Estimation Algorithms for Economic Operations of Powers Systems "

I.E.E.E Trans on P.A.S, Vol 101, n° 3, march 1982, 574-579.

7- L.L. Freris, A.M. Sasson: " Investigations of the Load Flow Problems "

Proc. I.E.E, Vol 115, n° 10, October 1968.

8- Y. Wallach: " Calculations and programs for power system analysis "

Prentice-Hall, Englewood Cliffs, 1986.

9- M. Rahli : “Economic dispatching using linear and non linear programming”

PhD thesis, USTO-MB, Oran, Algeria, January 1996.

10- L. Benasla, “Contribution to the study of the stability and the optimal economic dispatch,” Ph.D. dissertation, University of Science and Technology, ORAN, Algeria, 2004.

11- Younes M et M. Rahli, La répartition optimale des puissances en utilisant l’algorithme génétique, ICEEE ’2004, Laghouat, april, 24-25-26, 2004, pp 354-358.

12- Rahli M. Pirotte P: Optimal load flow using sequential unconstrained minimization technique (SUMT) method under power transmission losses minimization. Electric Power Systems Research 52: pp 61-64. (1999).

13- A. S. Deepak Mishra and K. Kalra, “Or-neuro based hopfield neural network for solving economic load dispatch problem,” Neural information processing – letters and reviews., vol. 10, 2006.

14- A. Belmadani, L. Benasla, M. Rahli: Etude d’un dispatching economique-environnemental par la méthode Harmony Search ; Acta Electrotehnica ; Volume50 ; N°1 ; 2009, pp 44-49

15- A. Belamadani, L. Benasla, M. Rahli: Etude d’un Dispatching Economique par l’Algorithme Harmony Search: Application au Réseau Ouest Algérien; 1er Séminaire National sur le Génie Electrique Appliqué aux Energies Renouvelables ; 27-28 Janvier 2010 ; Chleff, Algérie

16- Abderrahim Belmadani, Lahouaria Benasla and Mostefa Rahli : "A Fast Harmony Search Algorithm for solving Economic Dispatch Problem";

Book "Search Algorithms",ISBN 978-953-7619-X-X published by INTECH., June 2010., http://www.intechweb.org/

17- Abderrahim Belmadani, Lahouaria Benasla, Mostefa Rahli : A Fast Harmony Search Algorithm for solving Economic Dispatch Problem;

Przeglad Elektrotechniczny (Electrical Review); ISSSN 0033-2097; R.86; NR 3/2010, pp 274-278, http://pe.org.pl/

18- F.Z. Benayed, M. Rahli et L. Abdelhakem-Koridak: Optimisation du dispatching économique par l’algorithme Search Harmony,

Acta Electrotehnica Journal, Volume 52, N°1, 2011, Mediamira Sciences Publishers.