Table1. Value of MIIF21 from different equivalent impedance

| Simulation Conditions | Simulation Results | Value | Relative Error |
| --- | --- | --- | --- |
| Z1=15+j47.1Ω Z2=20+j47.1Ω | 0.2253 | 0.2297 | 1.95% |
| Z1=Z2=20+j47.1Ω | 0.2344 | 0.2388 | 1.87% |
| Z1=20+j47.1Ω Z2=15+j47.1Ω | 0.2324 | 0.2362 | 1.63% |

Table .2 Values of HISCR with different DC control methods in 500kV side

| DC control method | MIIF21 | HISCR |
| --- | --- | --- |
| 1000kVCEC、 500kV CEC | 0.2388 | 2.05 |
| 1000kVCEC、 500kV CVC | 0.2251 | 2.07 |
| 1000kVCVC、 500kV CEC | 0.1532 | 2.20 |
| 1000kVCVC、 500kV CVC | 0.1455 | 2.22 |

Figure1. Typical UHVDC hierarchical connection mode to AC system

Figure2. The control system of rectifier side

Figure3. The control system of inverter side

Figure4. Network nodes of inverter side

Figure 5. The voltage curve in bus 1

Figure 6. The voltage curve in bus 2

a	b

Figure 7. The impact of coupling impedance on MIFF21 with different DC control modes

a	b

b	d

Figure 8.The impact of equivalent impedance on MIFF21 with different DC control modes

Figure 9. The active power of AC circuit

Figure 10. Simulative waveforms for DC current

Figure 11. Simulative waveforms for extinction angle

Figure 12. The active power of AC circuit by changing the parameter of the received system

Figure 13. Simulative waveforms for extinction angle by changing the parameter of the received system