## Slide 1
Control panel
VSD
Rectangular tank
Expansion
tank
Electromagnetic
flow meter
Electromagnetic
flow meter
Pressure
gauge
Pressure
gauge
Torque
meter
Fig. 1

## Slide 2
Impeller
Diffuser
Inlet
Outlet
Interface impeller-diffuser
Fig. 2

## Slide 3
Chart: Flow rate, Q [m³/h]
3/19 3/20 3/21 3/22 3/23 3/24 3/25 3/26 3/27 3/28 3/29 3/30 3/31 4/1
Time [h]
Fig. 3

## Slide 4
Chart: Percent of rated flow [%]
| 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
통합 | 6.3889 | 10 | 4.8611 | 2.5 | 18.8889 | 18.1944 | 17.2222 | 12.7778 | 5.5556 | 3.6111
Fig. 4

## Slide 5
Chart: Flow rate, Q [m3/h]
| 0 | 12 | 16 | 20 | 24 | 28 | 32.1
3600_EXP | 122.9 | 119.9 | 116.9 | 111 | 103 | 91 | 76
3200_EXP | 97.9 | 93.9 | 90.9 | 85 | 76 | 63 | 50
2800_EXP | 74.9 | 70.9 | 66.9 | 60 | 50 | 38 | 24
2400_EXP | 55.9 | 50.9 | 45.9 | 37 | 28 | 16
2000_EXP | 38.9 | 33.9 | 27.9 | 20 | 9
3600_CFD | 125.63 | 116.81 | 109.58 | 104.34 | 91.25 | 84.2
3200_CFD | 101.19 | 90.82 | 85.084 | 77.624 | 68.075 | 54.562
2800_CFD | 76.105 | 69.5 | 67.59 | 61.15 | 48.57 | 38.59 | 23.53
2400_CFD | 57.25 | 52.19 | 47.106 | 38.73 | 29.18 | 16.43
2000_CFD | 39.36 | 34.43 | 26.56 | 18.19 | 8.23

## Slide 6
Chart: Flow rate, Q [m3/h]
| 0 | 12 | 20 | 24 | 28 | 32
3600_CFD | 4.08 | 6.59 | 8.729 | 9.368 | 9.972 | 10.605
3200_CFD | 2.927 | 4.871 | 6.142 | 6.597 | 7.278 | 7.651
2800_CFD | 1.83 | 3.54 | 4.06 | 4.31 | 4.49 | 4.881 | 5.138
2400_CFD | 1.43 | 2.64 | 3.13 | 3.22 | 3.47 | 3.61
2000_CFD | 0.85 | 1.71 | 1.89 | 1.932 | 2.013
3600_EXP | 3.5843 | 6.9654 | 8.0369 | 8.9977 | 9.7367 | 10.3279 | 10.8083
3200_EXP | 2.5291 | 5.1075 | 5.8958 | 6.5527 | 7.0126 | 7.3246 | 7.6366
2800_EXP | 1.5355 | 3.3921 | 3.9366 | 4.2855 | 4.5368 | 4.7602 | 4.8579
2400_EXP | 1.1455 | 2.5497 | 2.8699 | 3.0916 | 3.2764 | 3.3872
2000_EXP | 0.66718 | 1.6012 | 1.786 | 1.9092 | 1.9707

## Slide 7
Chart: Flow rate, Q[m3/h]
| 0 | 12 | 16 | 20 | 24 | 28 | 32.1
3600_EXP | 0 | 56.2698 | 63.396 | 67.211 | 69.1599 | 67.2054 | 61.4864
3200_EXP | 0 | 60.0974 | 67.1983 | 70.6716 | 70.8543 | 65.6044 | 57.0737
2800_EXP | 0 | 64.469 | 69.6421 | 71.1918 | 64.8471 | 54.4795 | 34.0937
2400_EXP | 0 | 63.9927 | 68.0228 | 68.3925 | 59.4718 | 45.4148 | 15.2872
2000_EXP | 0 | 69.2063 | 68.087 | 57.0737 | 29.8567
3600_CFD | 0 | 57.9028 | 69.6152 | 75.94 | 70.49 | 65.37
3200_CFD | 0 | 65.8262 | 73.16 | 76.8749 | 69.71 | 61.3522
2800_CFD | 0 | 64.13 | 72.51 | 75.25 | 70.67 | 60.26 | 39.89
2400_CFD | 0 | 64.58 | 65.55 | 65.49 | 54.94 | 34.69
2000_CFD | 0 | 65.77 | 61.21 | 51.26 | 26.71

## Slide 8
Chart: Flow rate, Q[m3/h]
| 0 | 12 | 16 | 20 | 24 | 28 | 32
Constant speed drive_experiment | 122.9 | 119.9 | 116.9 | 111 | 103 | 91 | 76
Constant speed drive_CFD | 122.88 | 120.1944 | 116.8096 | 111.348 | 103.3104 | 92.1976 | 77.5104
Variable speed drive | 75 | 75 | 75 | 75 | 75 | 75 | 75

## Slide 9
Chart: Flow rate, Q[m3/h]
| 0 | 12 | 16 | 20 | 24 | 28 | 32
Constant speed drive_Experiment | 3.943 | 8.1274 | 9.2406 | 10.213 | 11.0446 | 11.7354 | 12.2854
Constant speed drive_CFD | 4 | 8 | 9.1 | 10.3 | 11.3 | 11.7 | 12.2
Variable speed drive_Experiment | 2.0021 | 4.8197 | 5.7525 | 6.8741 | 8.2997 | 10.1445 | 12.5237
Variable speed drive_CFD | 2.0048 | 4.7496 | 5.7737 | 6.7 | 8.1154 | 9.8148 | 12.0591